## Slide 1: Advanced Microscope Temperature Control
git-bob

## Slide 2: Heat Management in Microscopy
• Temperature affects sample stability
• Influences imaging quality
• Can cause focus drift
• Critical for live cell imaging

## Slide 3: Common Heat Sources
• Microscope light sources
• Environmental factors
• Electronic components
• Sample chambers
Heat can accumulate in closed systems leading to thermal expansion of components.

## Slide 4: Temperature Control Solutions
• Water cooling systems
• Peltier elements
• Climate chambers
• Active heat dissipation
• Regular temperature monitoring

## Slide 5: Impact on Data Quality
• Reduced thermal drift
• Better reproducibility
• Extended imaging sessions possible
• Improved sample viability

## Slide 6: Best Practices
• Pre-warm equipment before imaging
• Monitor temperature continuously
• Use appropriate cooling systems
• Document temperature conditions